Test SubCommittee Action Items (Status as of 9 February 2008)

Completed Action Items From Previous List Removed

| 4. | Draft of Test Procedures for IEC 61850 Client / Review is underway. Draft update Revision 0.7 completed after initial client tests were completed by KEMA. Review comments provided through December, 2007. Was discussed at several telecons. Next Update will be Revision 0.8. See Item 45 for continuing activity. | Richard/ ALL | DRAFT Completed/Review Underway |
| --- | --- | --- | --- |
| 12. | Updated Quality Assurance Program and IEC 61850 Tester Accreditation Procedures. QAP split into several documents to reflect Users Group Charter. Update of QAP completed in December 2006 and review underway. Was finalized after 6 Feb 07 Meeting. See Item 24 for continuing activity. | Editors/ Testing Participants | August 2006 through March 2007 |
| 17. | Interoperability issues found shall be fed back into the Conformance Testing Procedures. (This is one of the purposes of the QAP and will enhance the conformance-testing program. KEMA will take the action item to bring this issue up with the vendors and the UCA IUG (ACTION ITEM from February 8, 2006 Meeting) See also Item 22. | KEMA | TBD/ Ongoing |
| 18. | Provide White Paper/ Public Domain References for support of ISO Stack Reliability Testing. New contact at Digital Bond is Dale Peterson. Papers will be made available to the Users Group as they become available. Stack security problems are handled, as needed, by US-CERT; vendors and clients are informed; we will continue to monitor. | Editors | Ongoing |
| 22. | Review project reports for any problems that should be feedback through the Users Group Quality Assurance Program or reported as Tissues (focus on TVA). Possible setup of panel or Working Group for implementation agreements and publication – coordinate with Technical. (Discussed at 22 May 2006 Meeting) | ABB (Steve Kunsman)/GE/Areva/ Siemens/EPRI | TBD/ Ongoing |
| 24. | QAP (Master and IEC 61850 breakout) completed. QAP (Rev 2.6) and IEC 61850 Addendum (Rev 1.0) finalized after 6 Feb 2007 Meeting and posted on 18 March 07. Addendums for CIM and OpenAMI/DR pending. | Marco and Jack/ CIM Group/ OpenAMI/DR Group/Testing Subcommittee | Main QAP done. Addendums are due |
| 26. | Draft White Paper on Users Group Testing Quality Assurance Program and IEC 61850 Support (discussed at several teleconferences). Several draft papers prepared and will be integrated. Stephan Gerspach provided 2 papers: A brief general summary and a more detailed technical document. Were discussed at 1/14/08 telecon, will be reviewed by Ralph and updated by March 15 for discussion at 31 March 2008 telecon. | Editor: Bruce Muschlitz/ Stephan Gerspach/ Ralph | Next Draft due 3/15/08 for review by 3/31/08 |

| 27. | Nominations for the CIM seats on the Testing Subcommittee and Membership Subcommittee (discussed at June 7, 2006 Teleconference and in September 12 E-mails with CIM) | CIM | Due Now |
| --- | --- | --- | --- |
| 35. | Testing of merging units: 9-2 testing has been removed from the server (8-1) test procedures. Both publisher and subscriber tests will eventually be needed. (Action Item from Paris Meeting 2006) | Editors | Future |
| 37. | Nominations for the OpenAMI/DR seats on the Testing Subcommittee and Membership Subcommittee | OpenAMI/DR | Due Now |
| 40. | Setup and hold Testing Teleconferences to discuss Client Test Procedures, White Paper and Testing Issues (completed on 10/11/07, 11/05/07, 11/26/07, 12/10/07, 1/14/08). Next teleconferences on 2/11/08 to review next draft of Client Procedures and on 3/31/08 to review White Papers, Templates and other open issues | Jack/Bruce/ Testing | 11 Feb 2008 31 Mar 2008 |
| 41. | Prepare Testing Plan to be included in Users Group 5-10 Year Strategic Plan | Testing SubCommittee | Discussion draft dated 12/6/07 |
| 42. | Complete the discussion of open issues, future documents and testing deliverables | Bruce/ Testing | TBD |
| 43. | Assist the Marketing Committee in developing a “Product Mark” Program. The first step is to assign a task force to work with Marketing on this item | Testing SubCommittee/ Marketing | TBD |
| 44. | Draft of PICs, PIXIT, TICs Templates. Reviewed at 1/14/08 teleconference. Next draft updates due 3/15/08 for discussion at 3/15/08 telecon. | Bruce and Richard/ Testing | Draft Completed 12/14/07 Update due 3/15/08 |
| 45. | Update Client Test Procedures to Revision 0.8, Richard to include all comments and suggested Client Procedure changes. All to review before 2/11/08 teleconference. | Richard/ Testing | Revision 0.8 dated 1/21/08. Telecon on 2/11/08 |
| 47. | Look into possible setup of Virtual Substation for Demonstrations and/or Device Testing over the Internet (Recommendation from Executive). Discussed at DistribuTECH February 2008 Meetings. | Jack/ Testing/ Tech | For Discussion. TBD |