DRAFT

Minutes of the Testing Teleconference

Held on 4 April 2012 (14:00 to 15:15 UTC)

# Introduction

This was a GoToMeeting Web Teleconference to review several issues related to the IEC 61850 Test Procedures and to discuss several open action items. This was a meeting of the IEC 61850 Testing Procedures Edition 1 Working Group.  A GoToMeeting Invitation was sent out to all the individuals on the 61850-Testing E-Mail List. The agenda and announcement were posted and draft reference documents had been sent out and/or posted earlier. The Teleconference was held on April 4 starting at 14:00 UTC, 10:00 AM EST US East Coast, 7:00 AM PST West Coast and 4 PM CET Europe Time. The teleconference was scheduled for 60 minutes but went over and was adjourned at 15:15 UTC. Jack Robinson prepared the minutes (this document).

# Agenda

- Introductions: Appoint scribe/Roll call/ Review Teleconference Agenda

- Approval of Previous Minutes

- Review of Client Test Procedure Changes (In TPCL)

- Preparation for IEC May 2012 Berlin Meeting

- GOOSE Performance (Added Agenda Item)

- Suggestions for Next Meeting/ Teleconferences

# Participants

The following people participated in the Teleconference:

| Name | Company |
| --- | --- |
| Dufaure, Thierry | Siemens |
| Muschlitz, Bruce | Testing Chair, EnerNex |
| Robinson, Jack | UCAIug Secretary |
| Scavazzon, Maurizio | Thytronic |
| Schimmel, George | Triangle Microworks |
| Schimmel, Richard | KEMA |
| Steinhauser, Fred | Omicron |
| Tibbals, Tim | SEL |
| Wycinka, Marcin | BTC AG |
| Zhangran | KETOP |

# References

- Testing 4 April 2012 Telecon Agenda, Bruce Muschlitz, Posted at: http://www.ucaiug.org/org/TechnicalO/Testing/Testing%20Meetings%20Agendas%20Minutes/Testing2012_04_04_Agenda.doc

- Draft Minutes 21 March 2011, Jack Robinson, Posted at:  http://www.ucaiug.org/org/TechnicalO/Testing/Testing%20Meetings%20Agendas%20Minutes/MeetingMinutes/TestingDRAFTminutes21Mar2012.doc

- TPCL Version 1.2 for Client, Richard Schimmel, Posted at: http://www.ucaiug.org/org/TechnicalO/Testing/UCAIug%20Testing%20Quality%20Assurance%20Program/Current%20IEC%2061850%20Testing%20Procedures/Test%20Procedure%20Approved%20Changes/TPCLforClientRevision1p1(version1p2).pdf

# Approval of Previous Testing Teleconference Minutes

The minutes of the previous teleconference held on 21 March 2011 (Reference B) were approved as written.

# Teleconference Highlights

Client Test Procedure Changes

We reviewed the proposed changes to the client test procedures as documented by Richard in the draft TPCL.

Part 7-2 Ed1 and the updated TISSUE 820 resolution state that GetDataSetDirectory is an optional service for a CLIENT (not for server). As such we should also declare the GetDataSetDirectory service optional for client conformance testing (both for Ed1 and Ed2). The test procedures should match with the standard.

| Data set (Clause 12) |
| --- |
| S12 | GetDataSetValues | TP | O | M |  |
| S13 | SetDataSetValues | TP | O | O |  |
| S14 | CreateDataSet | TP | O | O |  |
| S15 | DeleteDataSet | TP | O | O |  |
| S16 | GetDataSetDirectory | TP | O | M |  |

Bruce suggested we update the client TPCL 1p1 to 1p2 to move cDs2, cDs5 and cDsN1 to conditional. We agreed that we need more complete definitions of the client conditional tests.

We walked through the draft TPCL and made corrections on the GoToMeeting screen. We agreed to accept the updated Client TPCL Revision 1.2 (see final in Reference C).

IEC May 2012 Berlin Meeting

Bruce brought up a question on our possible participation in the May 2012 IEC Berlin Meeting. TC 88 will also meet there. Should we hold Ed1/Ed2 test procedure working group meetings in Berlin? We agreed that we should take advantage of the venue and inform everyone on the status of UCAIug testing activities. Thierry: All groups meet in a tight schedule over two days; we would have minimal time to cover testing topics. We agreed to ask for one hour at the Plenary Session to present an overview of UCAIug Testing activities and status. Bruce took an action item to coordinate with Christoph to set this up.

GOOSE Performance Testing

Part 10 FDIS will be released specifying 0.2 milliseconds of accuracy on GOOSE simulator timing for the -4, -2, 0, +2, for 4 millisecond GOOSE. This is a technical challenge at this time.

Bruce has a PCAP file with proper timings, which has been posted on the UCAIug site under the Directory GooseAlign in Testing Working Group Documents. This file has alternating sequence numbers instead of incrementing sequence numbers, which is an artifact of the re-timing program. Bruce will try to fix this at some point.

Fred: We need to introduce some randomness in the tool for better results. Bruce: Agree, we can do this with a one-line code change. Bruce will make this change this week (plus or minus 5 msec); Bruce will also give Fred access to the Testing Working Group Documents (by this Friday).

Richard has an action item to verify that the GOOSE performance tests will operate properly in the KEMA environment using the Omicron Simulator. The intent is to have an 8 msec burst and to repeat the GOOSE performance flood test 1,000 times.

# Teleconference Conclusion/ Next Meetings

We briefly went over the status of the open action items (as listed in the last testing minutes).  Jack will remove the completed items from the minutes.

We discussed the availability of the several templates: Bruce will pull all the templates (PICS, MICS, TICS, PIXIT, Device Test Certificates) and place them into a separate directory under Testing Shared Documents (completed).

Bruce: We need volunteers for the Ed2 Test Procedures Working Group. At this point, there is considerable overlap between the Ed1 and Ed2 teams.

We agreed to hold less frequent Ed1 teleconferences to allow the Ed2 working group more time. We agreed to hold our next IEC 61850 Edition 1 Testing meeting on 2 May 2012 at our usual time (based on U.S. East Coast time of 10 AM, 14:00 UTC, and 16:00 CET).

Preparation of the document “Highly Interoperable IEC 61850 Devices” (or “Interoperability Agreements”) is still pending. Bruce has an action item to prepare some initial review material. We will take this up at a future meeting.

The Teleconference was adjourned at 15:15 UTC.

# Teleconference Action Items

(Includes open action items from previous meetings and teleconferences. Includes action items only for the IEC 61850 Test Procedures Edition 1 Working Group.)

- Richard to consolidate comments and issue Version 0.2 of the Testing Procedure for 9-2 Subscribers. For review at a future meeting.

- Bruce to coordinate with Christoph regarding update of IEC 9-2LE.

- Jack to look into reformatting the IEC 61850 QAP Test Procedures as UCAIug documents. Coordinate with the KEMA editors. Consider also how we will handle all of the Testing Documents. (On hold pending legal review.)

- Follow up from Paris 25 August Meeting: Suggestion was raised to start a task force to identify and list interoperability issues and a related database and ways to maintain.

- Continue Pilot activity on SmartGrid Testing and UCAIug participation in IPRM. Bruce has prepared initial draft documents. Jack and Bruce to look at the tester agreements (Annex A) and the impact to our QAP. Define Pilot schedule and milestones. Coordinate with ongoing legal review. Jack has prepared a draft checklist to define the scope, schedule and tasks for the IPRM/ ITCA Pilot Program. To be reviewed by all by e-mail and for discussion at a future teleconference. Review responses are still pending.

- Bruce to prepare some written material on: “Highly Interoperable IEC 61850 Devices”. To be reviewed at a future meeting.

- Bruce to update the outline for Test Procedures for IEC 61850 Part 90-5. To be reviewed at a future meeting.

- Omicron and KEMA to verify proper GOOSE event timing and deterministic capability for the test simulator tool  (Richard Schimmel and Fred Steinhauser).

- Bruce to coordinate with Christoph Brunner to prepare a one hour presentation on an overview of UCAIug Testing Status and Activities to be given at the IEC May 2012 Meeting in Berlin. Others to assist as needed.

- Bruce to issue GoToMeeting call for our next testing meetings.