We will conduct a 60 minute meeting of the IEC 61850 Edition 1 test procedures Working Group  on 19-July-2012 at 10:00 AM Eastern Daylight Savings Time (14:00 UTC).

The GOTOmeeting link is included below.

Please contact me if any of this information is ambiguous.

Meeting agenda shown below and posted at:

http://www.ucaiug.org/org/TechnicalO/Testing/Testing%20Meetings%20Agendas%20Minutes/MeetingMinutes/Testing2012_07_19_Agenda.doc

(see calculator http://www.timeanddate.com/worldclock/fixedtime.html?msg=61850_Ed1_TestProcedure_WorkingGroup&iso=20120719T10&p1=198&ah=1)

- 1 minute - Appoint scribe

- 4 minutes - Roll call

- 1 minute - Approve this agenda

- 1 minute - Approve minutes from 05-July-2012 meeting posted to
http://www.ucaiug.org/org/TechnicalO/Testing/Testing%20Meetings%20Agendas%20Minutes/MeetingMinutes/TestingDRAFTminutes5July2012.doc

- 5 minutes – old business: multi-variant testing
Discuss proposed wording for multi-variant testing 
“A multi-variant test is permitted for UCAIug conformance test certificate if the device-under-test contains identical communication firmware and hardware shared across multiple devices. The first page of the certificate shall document the actual device tested and the second page of the certificate shall list the alternate device models which have been tested with the same hardware. The definition of “same hardware and firmware” includes both fully identical hardware as well as those devices which fully embed all IEC 61850 functionality within a communication card, which changes personality based upon the remainder of the device hardware. Multi-varient Performance Testing is only applicable if all of the hardware and firmware is identical.”

- 5 minutes – old business: GOOSE performance testing
discuss revised document from Stephan Gerspach
http://www.ucaiug.org/org/TechnicalO/Testing/SubCommittee%20Working%20Group%20Documents/1KHL050032%20Test%20procedures%20for%20GOOSE%20Performance%20Fourth%20Revision%20670.doc 

One discussion point: should we use 1000 GOOSE probes and explain repeatability of sampling algorithm or should we adjust GOOSE probe count to achieve a specific repeatability number (for example, 99% certainty repeatable to 100 microseconds?

- 20 minutes – old business: GOOSE-only (no C/S capability) testing
Herb has produces 3 documents:
- A complete new server test procedure document (only GOOSE functionality test chapter changed). This includes the (old) PIXIT document which Bruce edited (2 new GOOSE entries)
http://www.ucaiug.org/org/TechnicalO/Testing/SubCommittee%20Working%20Group%20Documents/UCATestProceduresServer61850-8-1_Rev2p4%20Proposedb_withBruceAdditions.doc 
- A new PIXIT template document with 2 different new GOOSE entries
http://www.ucaiug.org/org/TechnicalO/Testing/SubCommittee%20Working%20Group%20Documents/IEC61850_PIXIT_Template_Server2p4_TPCL1p6-Proposedb.docx 
- A new TPCL for server test procedures (note that Richard also has an outstanding TPCL version which will need merger)
http://www.ucaiug.org/org/TechnicalO/Testing/SubCommittee%20Working%20Group%20Documents/TPCLforserverrevision2p4(version1p6)%20Proposedb.doc 
A summary of the changes to the GOOSE test procedure:
Gop1: Add PICS conditionals
GOP6: Add PICS conditionals

GOP7: Change from "verify ConfRev does not change across device restarts" to "ConfRev matches SCD/CID"
Split into 2 parts:
Gop7a: mandatory - GOOSE ConfRev matches SCL file
Gop7b: conditional - Use GetGoCBValues to verify ConfRev (comment: this is superset of Gop7a so if this is performed then Gop7a is implicily performed)

Gop8: Add PICS conditionals, change test (from online to offline?)
Gop9: Clarify: NdsCom is set RRUE when datSet is NULL. Split into 2 parts"
Gop9a: Mandatory - do not send GOOSE without any data elements

GopN2: Split into 2 tests
GopN2a – mandatory
GopN2b - conditional on TPAA

GosN5 - clarified that publisher continue to send but subscriber does not recieve. Clarified that 2 ethernet switches are needed

GosN6: Clarified andadded additional tests

Added PIXIT Go15, Go16

- 5 minutes – old business: posting ICD file to sharepoint (this was started 3 years ago!)
Recent experience in certificate inspection shows that this may also be required to validate certificates.

- 5 minutes - TISSUE for sending GOOSE if ndsCom is TRUE
Bruce entered TISSUE 867 (http://tissues.iec61850.com/tissue.mspx?issueid=867)
This should be reviewed by the group

- 5 minutes – old business: discuss TPCL 1.0 for 9-2LE publishers: non-ST connectors, enumerated synchronization, re-format certificate (reference http://www.ucaiug.org/org/TechnicalO/Testing/SubCommittee%20Working%20Group%20Documents/TPCL%20for%2092LE%20revision1p1%20(version0p1).doc )

- 5 minutes – old business: other issues arising since the preceding meeting

  - Server v2p3 test CtlN2 mentions step 8 but it should be step 1 (I think the original was step 2 which was also wrong!)

- 5 minutes – new business: server Sg3 test changes: add mandatory test for SelectActiveSettingGroup (Sg3a) and move remainder to Sg3b as existing conditional test)

- 5 minutes – new business: discuss new test to ensure SGCB entries are FC=SP

- 5 minutes – new business: discuss machine readable documents – PICS and MICS and PIXIT and TICS

- 5 minutes - new business: Review outline of 6850-90-5 test procedure (if update is available)

- 5 minutes – discuss topics for next meeting and date of that meeting (propose 12-July or 19-July)

- Adjourn at 60 minute mark

Please read all of the documents listed above and prepare to provide (at least) verbal comments to these documents.

Note: this meeting identifier (148-717-922) will be used for all future Edition 1 test procedures working group meetings

(recurring testa)